


1. Purpose

The purpose of this job aid is to provide guidance for creating data maps documenting the flow of data through the process and systems.  The data map approach will be utilized to identify the data flow, systems used, controls in place, and provide a mechanism to assess risk level and potential gaps.  In addition, the data maps will be utilized to evaluate changes to the process and assess impact to the data integrity risk.  

2. Scope

The data maps will look at the entire data lifecycle from creation through storage.  It will include all operations and both paper and electronic records.  Data maps are required for all critical data.  

The scope of a data map should be the flow for a particular piece of data.  

· Example, the data map for the storage temperature of an eluate should reflect how the temperature data flows through the system and documentation.  The data map should not include all data handled by the BMS system.  

3. Process
1.1. Data maps must be associated with a system lifecycle document (e.g. URS, FS, etc.) and can either be referenced or embedded within the associated document.  

1.2. Data maps must be created in conjunction with the BPO or delegate and should include a Gemba walk, data maps should not be created off of SOPs alone.  

1.3. To create the data map, choose a Cross-Functional Flowchart within Visio.  Label the swim-lanes as follows: 

· Prep/Input

· Data Creation

· Data Manipulation

· Data  Use

· Data Storage

1.4. Place all the actions or systems in the flow chart with arrows connecting them indicating the flow of the data.  The appropriate shape should be utilized as follows: 


[image: image1.emf]Paper Document –

should reference 

SOP or Form if 

applicable

Computerized 

System –

reference 

system ID if 

applicable

All other actions/

processes


NOTE: A reference table can be included with the data map for the SOPs and System IDs so the titles and additional information does not need to be included in the graphical data map.   

1.5. For computerized systems, the shape should be color coded to reflect the current controls in place.  The color coding should be completed as follows:  


[image: image2.emf]Part 11 

Compliant

Not Part 11 Compliant but 

Paper Considered True 

Record or Gaps in 

Compliance but 

remediation plan in place

Not Part 11 Compliant &  

no plan in place for 

compliance gaps


1.6. Data operations should be depicted utilizing arrows.  The following are data operations which commonly occur, if at all possible, data operations should be fit into one of these categories to maintain consistency.    

· Data Entry – input of process, meta data (e.g. lot ID, operator)

· Data Store – archival location

· Data Copy – transcription from another system or paper, transfer of data from one system to another, printing (Indicate if it is a manual process). 

· Data Edit – calculations, processing, reviews, unit changes  (Indicate if it is a manual process)

· Data Move – movement of paper or electronic records

1.7. Data Operations should be color coded to reflect the current controls in place.  The color coding should be completed as follows:  

· Technical Controls – Validated Automated Process

· Operational Controls – Manual Process with Review/Verified/Witness Requirements

· No Controls - Automated process that is not validated or Manual process with no Review/Verified/Witness Considerations

NOTE: Yellow text does not visually stand out therefore brown/orange is utilized instead

1.8. An example data map is provided.  

Example Data Map: 


[image: image3.emf]Example Assay

Data Creation

Prep/Input

Data 

Manipulation

Data Storage

Data Use

Phase

Data Archived

Manual 

Data Copy

LIMS Data & 

Dilution Info 

entered

Logbook 

LIMS Sample 

Logged in

Label Printed and 

Put on Sample

Data Copy

Manual Data Copy

Dilution info from 

SOP

Manual Data Copy

Bench Sheet

(Attachment 2: 

Worksheet 2), 

Perform Dilutions

Data Copy

Manual Data Copy 

(Class A inst info)

Instrument  Manual Data Copy

Data Store

Assay Sheet

Data Copy

Logbooks archived

Data Store

LIMS performs 

Calculations

Manual

Data

Copy

LIMS Data Edit

Results Sheet

Data Copy

LIMS

Data reviewed w/ 

data package, 

event log, trends

Manual Data Edit (LOQ)/

Data Copy

CofA

Data Copy

Document 

Management 

System

Data Copy

Data Archived

Data Store

Data Archived

Data Package 

including Checklist 

Archived  (Lock box 

and Locked 

Cabinets)

Performed and 

review checklist 

including event log 

& trends

Manual

Data

Edit

Data Store

Data Archived

Data Store

Data Store




_1608714375.vsd
�

Part 11 Compliant


Not Part 11 Compliant but Paper Considered True Record or Gaps in Compliance but remediation plan in place


Not Part 11 Compliant &  no plan in place for compliance gaps



Example Assay
Data Creation
Prep/Input
Data Manipulation
Data Storage
Data Use

Phase
Data Archived
Manual 
Data Copy
LIMS Data & Dilution Info entered
Logbook
LIMS Sample Logged in
Label Printed and Put on Sample
Data Copy
Manual Data Copy
Dilution info from SOP
Manual Data Copy
Bench Sheet
(Attachment 2: Worksheet 2), Perform Dilutions
Data Copy
Manual Data Copy 
(Class A inst info)
Instrument
Manual Data Copy
Data Store
Assay Sheet
Data Copy
Logbooks archived
Data Store
LIMS performs Calculations
Manual
Data
Copy
LIMS
Data Edit
Results Sheet
Data Copy
LIMS
Data reviewed w/ data package, event log, trends
Manual Data Edit (LOQ)/
Data Copy
CofA
Data Copy
Document Management System
Data Copy
Data Archived
Data Store
Data Archived
Data Package including Checklist Archived  (Lock box and Locked Cabinets)
Performed and review checklist including event log & trends
Manual
Data
Edit
Data Store
Data Archived
Data Store
Data Store



_1608714374.vsd
�

�

�

Paper Document – should reference SOP or Form if applicable


Computerized System – reference system ID if applicable


All other actions/processes



