- Introduction

  - Objective

  - Definitions and Abbreviations

- Design of both, the plant and processes

  - 1.1.	The Processes

    - Terminally Sterilized Products

    - Aseptic Manufacturing

    - Low Bioburden Processes / Bioburden-Controlled Processes

  - The Plant

    - General

    - Terminally Sterilized Products

    - Aseptically Manufactured Products

    - Low Bioburden Processes / Bioburden-Controlled Processes

- Premises and Equipment

  - Premises

  - Equipment

- Personnel

  - General

  - Gowning Requirements

  - Clean Room Clothing

  - Personnel Monitoring

- Utilities

  - Water

    - Purified Water

    - WFI

  - Steam

  - Gases

    - Product-contact-compressed air (direct or indirect product contact)

    - N2

    - CO2

    - O2

    - Further Gases

- Raw Material Controls – including in-process controls

  - Raw Material (Starting Material) Controls

  - In-Process Controls

- Product Containers and Closures

- Vendor approval – such as key component suppliers, sterilization of components and single use systems (SUS), and services

  - General processes

  - Detailed information regarding vendors

- For outsourced services, such as sterilization, sufficient evidence should be provided to the contract giver to ensure the process is operating correctly

  - General processes

  - Detailed information regarding suppliers

- Process Risk Assessment

- Process Validation

- Preventative maintenance – maintaining equipment, utilities, and premises (planned and unplanned maintenance) to a standard that will not add the significant risk of contamination

- Cleaning and Disinfection (Decontamination and Sterilization)

  - Equipment

  - Clean Rooms / Clean Areas

  - Clean Room Clothing

- Monitoring Systems - including an assessment of the feasibility of the introduction of scientifically sound, modern methods that optimize the detection of environmental contamination

  - General Procedures

  - Monitoring of Systems

    - Water and Steam

    - Clean Rooms

    - Gases

  - Personnel

- Prevention – trending, investigation, corrective and preventive actions (CAPA), root cause determination, and the need for more comprehensive investigational tools

- Continuous improvement based on information derived from the above

- Further relevant aspects – e.g. about viral safety